## Table B2.4
Table B2.4: Regulations for water reuse in car wash.
FROM WASTEWATER TO CAR WASH
PARAMETER | pH | Color | Turbidity | Residual Cl | BOD | TSS | TDS | NH4-N | T.N | Detergents | Fe | Mn | T. Coliform (max single) | T. Coliform (7d mean) | E.Coli (max single) | E.Coli (mean) | Faecal Coliform (max single) | Faecal Coli. (7d mean) | Intestinal Nematodes | Thermo. coliforms
COUNTRY |  |  | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | cfu/100 mL |  | cfu/100 mL |  | cfu/100 mL |  | egg/10 L | cfu/100 mL
EPA | 6 - 9 |  | 2 | 1 | 10 | [11 empty] | 0
New Jersey, USA |  |  | 2 | 1 |  | 5 |  |  | 10 | [7 empty] | 14 | 2.2
China |  | 30 | 5 | 0.2 - 1 | 10 |  | 1000 | 10 |  | 0.5 | 0.3 | 0.1 |  |  |  |  | 3
Spain |  |  | 10 |  |  | 20 | [8 empty] | 200 |  |  |  | 1
Brazil | 6 - 9 |  | 5 | 0.5 - 1.5 |  |  | 200 | [9 empty] | 200
Western Australia, Australia | No quality criteria.
FROM GREY WATER TO CAR WASH
PARAMETER | pH | Color | Turbidity | Residual Cl | BOD | TSS | TDS | NH4-N | T.N | Detergents | Fe | Mn | T. Coliform (max single) | T. Coliform (7d mean) | E.Coli (max single) | E.Coli (mean) | Faecal Coliform (max single) | Faecal Coli. (7d mean) | Intestinal Nematodes | Thermo. coliforms
COUNTRY |  |  | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | cfu/100 mL |  | cfu/100 mL |  | cfu/100 mL |  | egg/10 L | cfu/100 mL
California, USA |  |  | 2 | [9 empty] | 23
Oregon, USA |  |  |  |  | 10 | 10 | [6 empty] | 23 | 2.2
Arizona, USA |  |  | 2 - 5 | [13 empty] | 23
Massachusetts, USA | 6.5 - 8.5 |  | 2 |  | 10 | 5 |  |  | 10 | [7 empty] | 14 | 0
Wisconsin, USA | 6 - 9 |  |  | 1 - 10 | 10 | 5
United Kingdom | 5 - 9.5 |  | 10 | 2 | [8 empty] | 10
Jordon |  |  |  |  | 10 | 10 | [10 empty] | 10
Victoria, Australia | Prohibited.
Queensland, Australia | 6.5 - 8.5 |  | 1 - 5 | 0.2 - 1 | 10 | 10 | [8 empty] | 10 | 1 (1y) |  |  |  | 10